## Slide 1: Data center efficiency
Ngosa gathams eng.

## Slide 2: Agenda
Data Center Overview
  What are we talking about?
Data Center Classification
  What should we know?
Data Center Preparation
  What should we do?

## Slide 3: Data Center Overview
What are we talking about?

## Slide 4: Data Center Overview What is a Data Center?
All that we observe in the digital domain, from:
the Web Pages
the Archive of our Phone Calls
the temporary Storage of an SMS in order to find the destination mobile phone switched on
up to our eMail and Facebook profile
are stored somewhere in the world.
A Data Center is a factory that “Transforms” and “Stores” bits
These places are the Data Center

## Slide 5: Data Center Overview Data Center - Main Components
Cabling
LAN (Local Area Network)
WAN
(Wide Area Network)
SAN
(Storage Area Network)
Server
Storage
Electrical Generator
UPS
(Uninterruptible
Power Supply)
CRAC
(Computer Room Air Condition)
IT
IT
IT
IT
IT
IT

## Slide 6: Data Center Overview Data Center – Energy Metrics
Power Usage Effectiveness (PUE) : metric used to determine the energy efficiency of a data center
A PUE of 2.0 means that for every watt of IT power, an additional watt is consumed to cool and distribute power to the IT equipment.
An ideal PUE would be 1.0, meaning all the power brought to the data center is used for computing

## Slide 7: Data Center Overview Data Center - Consumption
PUE = 3.3
IT Equipment 53% - 59%
PUE = 1.89 – 1.7
Today….
Notes: CRAC – computer room air conditioning
PDU – Power distribution unit
UPS – Uninterruptible power supply

## Slide 8: Data Center Overview Data Center - Strategies
Many companies have identified strategic locations for their data center in order to take advantage from the environmental characteristics to cool its data center or to produce energy
The Barcelona Supercomputing Center (BSC) - Centro Nacional de Supercomputación is a public research center located in Barcelona, Catalonia, Spain. It hosts MareNostrum, a 1M TFLOPS that, in November 2015, ranked 93rd in the world.
The MareNostrum supercomputer is contained inside an enormous glass box in a former chapell.
http://natick.research.microsoft.com/

## Slide 9: Data Center Overview Data Center - Strategies
Lulea
Hamina
PUE = 1.12
PUE = 1.08
Google has built a data center entirely cooled with sea water in Hamina, Gulf of Finland
using the icy water to cool the datacentre hardware (no chiller)
Facebook has built a data center in Lulea, north of the Swiss, 60 miles from the Arctic Circle near the Lulea river
reliability of the regional power grid serving the allows to use far fewer generators than in its U.S. facilities (-70%)
using the icy Arctic air to cool the datacentre hardware

## Slide 10: Data Center Overview Pratical Approaches to Efficient IT
Consolidation (2:1 savings)
Tiered Storage (-25 % TCO)
Dedupe (up to 98% reduction)
Software and Process Automation (-30% TCO)
COST
TIME
60% Annual Data Growth
  Power, Cooling and Space Reductions Exceeding 50%
Virtualization (10:1 to 15:1)

## Slide 11: Data Center Classification
What should we know?

## Slide 12: Data Center Classification Uptime Institute
Uptime Institute created the standard Tier Classification System as a means to effectively evaluate data center infrastructure in terms of a business’ requirements for system availability.
The Tier Classification System provides the data center industry with a consistent method to compare typically unique, customized facilities based on expected site infrastructure performance, or uptime.
Furthermore, Tiers enables companies to align their data center infrastructure investment with business goals specific to growth and technology strategies.

## Slide 13: Data Center Classification Uptime Institute

## Slide 14: Data Center Classification Data Center - Tiering
Only one path for power and cooling distribution
Non Redundant Components
Susceptible to disruption from planned and unplanned activity
Single path of power and cooling
Some redundancy in power and cooling systems
Slightly less susceptible to disruptions than Tier 01
Multiple power and cooling paths
Fault tolerant (N+1)
Able to sustain 72-hour power outage
Two independent utility paths
Fully redundant
Able to sustain 96-hour power outage

## Slide 15: Data Center Classification TIA - 942
Standards and guidelines for Data Center
http://www.tia-942.org/
Published: April 2005
Telecommunication Infrastructure Standard for Data Center
  Design and Installation
  TLC systems, electrical, HVAC, security etc.
  Spaces reserved for telecommunication and topology
  Levels fo redundancy (Tiering)
It is the first standard since 1996
The standard will undergo updates during 2016
Points of reference for IT Standards
ISO/IEC 11801 international standard for cabling
EIA/TIA 568 American standard for cabling
IEEE international standard for devices and applications
Telecommunications Industry Association

## Slide 16: Data Center Preparation
What should we do?

## Slide 17: Data Center Preparation Raised Floor
Notes: I pannelli della pavimentazione (60x60, 120X60, 60X40 cm) sono realizzati secondo tre livelli: la finitura superficiale, l'anima interna e il rivestimento inferiore. Il piano di calpestio realizza la componente estetica di finitura, capace di offrire la stessa resa visiva di un pavimento tradizionale grazie ai più svariati materiali (laminato, PVC, gomma, linoleum, moquette, parquet, gres porcellanato, marmi e graniti naturali). L'anima del pannello è l’insieme dei materiali strutturali (conglomerato ligneo ad alta densità o solfato di calcio) disposto sotto lo strato di rivestimento superficiale, mentre la parte inferiore è la faccia nascosta del pannello, con la funzione di migliorare le caratteristiche meccaniche e la protezione dall’umidità (laminato plastico, alluminio, carta melaminica, lamiera o acciaio zincato).

## Slide 18: Data Center Preparation Raised Floor

## Slide 19: Data Center Preparation Raised Floor
Do you have an idea of the involved rack loads?
What is the average weight of a server rack?
What is the weight of a full configured VMAX?
Concentrated loads
2,5 mm
Class | Working Load | Equivalent
Class 1 – low loads | 2 kN | 204 kg
Class 2 – medium loads | 3 kN | 306 kg
Class 3 – high loads | 4,5 kN | 459 kg
Class 4 – special loads | >4,5 kN | > 459 kg
Working Load =
Maximum Load
Security Coefficient
Up to 700 kg
Up to 1300 kg
Notes: La normativa europea di riferimento del settore pavimenti sopraelevati è la EN 12825 che si riferisce al parametro univoco del “Carico Massimo di Sicurezza” (vicinissimo, dal punto vista tecnico, al carico di rottura). Questo carico è inteso come il carico massimo concentrato al quale un sistema di pavimenti sopraelevati può resistere sul suo punto più debole, per una durata massima di 5 minuti, senza collassare.
Per comprendere meglio il metodo di misurazione è utile chiarire alcune definizioni:
Il carico massimo è carico al momento del cedimento dell’elemento durante lo specifico procedimento di prova. Il carico massimo è talvolta chiamato carico di rottura.
Il coefficiente di sicurezza è il fattore per il quale è diviso il carico massimo per determinare il carico di esercizio.
Carico di esercizio è il carico ottenuto dividendo il carico massimo per il fattore di sicurezza. Il carico di esercizio è talvolta chiamato carico di progetto o carico nominale.
Il carico massimo concentrato diviso per il coefficiente di sicurezza previsto dallo Stato membro in ambito nazionale determina quindi il “carico di esercizio”.
Ad esempio, un carico massimo di sicurezza 9 kN sarà classificato in Italia, in Germania e in Francia, dove il coefficiente di sicurezza è 2, esprimerà un carico di esercizio di 9 / 2 = 4,5 kN. In Inghilterra, invece, dove il coefficiente di sicurezza è 3 il “carico di esercizio” sarà di 9 / 3 = 3 kN.
La vigente normativa europea in materia di resistenza meccanica EN 12825 non prevede prove di carico uniformemente distribuito.
Questo carico viene ancora oggi espresso poiché, per consuetudine, nel settore edilizio ci si riferisce con lo stesso parametro alla portata dei solai.
I pavimenti sopraelevati presentano normalmente, al carico distribuito, una resistenza superiore a quella del solaio o soletta su cui poggiano; per questo motivo tale criterio di giudizio non viene osservato dalle attuali norme che si riferiscono al settore dei pavimenti flottanti.

## Slide 20: Data Center Preparation Floor space Identifiers

## Slide 21: Data Center Preparation Floor space Identifiers
Where is it??
Server «Colosseo»
F
AH - 05
AH
AI
AL
AM
01
05
02

## Slide 22: Data Center Preparation Floor space Identifiers
F
AH - 05
AH
AI
AL
AM
01
05
02
Server «alfa»

## Slide 23: Data Center Preparation Connection Identifiers
Intra-rack
Inter-rack
“AJ05-U7-kk to AQ03-U6-zz ; kk,zz=Port”
“AJ05-U7-xx to AJ05-Un-yy ; xx,yy=Port”

## Slide 24: Data Center Preparation Rack positioning
Cold and Hot Aisles
Power and Telecommunication Cabling

## Slide 25: Data Center Preparation Cabling
Unstructured Cabling

## Slide 26: Data Center Preparation Cabling
Structured Cabling

## Slide 27: Data Center Preparation Cabling

## Slide 28: Data Center Preparation Cooling
Based on the:
Rack server dissipations (8-40kW)
Infrastructure constraints
Economic constraints
The systems must work between:
22°C and 24°C
with
35-50% humidity

## Slide 29: Data Center Preparation Cooling
Chiller
CRAC

## Slide 30: Data Center Preparation Cooling

## Slide 31: Data Center Preparation Air Flow Issues

## Slide 32: Data Center Preparation Air flow management

## Slide 33: Data Center Preparation Air Flow Management
ACTIVE FLOOR
Underfloor pressure control

## Slide 34
Questions?

## Slide 35: References
http://idcsolutions.com.au/services/pue-progress-assessment/
http://searchdatacenter.techtarget.com/definition/power-usage-effectiveness-PUE
http://www.informationweek.com/hardware/data-centers/5-data-center-trends-for-2013/240145349
http://www.google.com/about/datacenters/efficiency/internal/
http://mestex.com/news.asp?type=&lang=en&id=342
notesfromtheconsultantsjungle.com
http://www.itserverrooms.co.uk/design-build/internal-room/
http://www.accu-tech.com/datacenter/belden/
commons.wikimedia.org
searchdatacenter.techtarget.com
http://www.apcmedia.com/salestools/NRAN-66CK3D/NRAN-66CK3D_R2_EN.pdf?sdirect=true
http://www.itc.cnr.it/corsi/pavimenti/immagini/pavimento%20pdf/requisiti.pdf
http://www.nesite.com/i-pavimenti-sopraelevati-e-la-resistenza-meccanica/